# Characterization Report -- mAb-Test IgG1

This document presents the physicochemical and biological characterization of mAb-Test IgG1 (anti-IL6R monoclonal antibody) per ICH Q6B guidelines. The reference standard lot RS-2026-001 was used throughout.

Reference Standard Lot: RS-2026-001 (USP reference)

# 1. Primary Structure

The primary structure of mAb-Test IgG1 was confirmed by peptide mapping using LC-MS/MS. The amino acid sequence showed 100% coverage. N-terminal sequencing was performed by Edman degradation.

| Parameter | Method | Result | Unit |
| --- | --- | --- | --- |
| Molecular Weight (intact) | LC-MS | 148235 | Da |
| Sequence Coverage | Peptide Mapping LC-MS/MS | 100 | % |
| N-terminal Sequence | Edman Degradation | Confirmed |  |

# 2. Higher-Order Structure

Higher-order structure (HOS) analysis was performed using circular dichroism (CD) spectroscopy (far-UV and near-UV), differential scanning calorimetry (DSC), and FTIR spectroscopy. Secondary structure content was consistent with an IgG1 antibody.

| Assay | Method | Result | Unit |
| --- | --- | --- | --- |
| Secondary Structure (beta-sheet) | Far-UV CD | 68.5 | % |
| Thermal Stability (Tm1) | DSC | 71.2 | degC |
| Structural Similarity | FTIR | 0.98 | correlation |

# 3. Aggregation and Size Variants

Size variant analysis was performed by SEC-HPLC, AUC (analytical ultracentrifugation), and DLS (dynamic light scattering). HMW species (aggregates) were quantified.

| Attribute | Method | Value | Unit |
| --- | --- | --- | --- |
| Monomer | SEC-HPLC | 98.2 | % |
| HMW (Aggregates) | SEC-HPLC | 1.2 | % |
| LMW (Fragments) | SEC-HPLC | 0.6 | % |
| Hydrodynamic Radius | DLS | 5.4 | nm |

# 4. Charge Heterogeneity

Charge variant analysis was performed by cation exchange chromatography (CEX) and icIEF (imaged capillary isoelectric focusing).

| Attribute | Method | Value | Unit |
| --- | --- | --- | --- |
| Acidic Variants | CEX | 22.1 | % |
| Main Charge Peak | CEX | 58.3 | % |
| Basic Variants | CEX | 19.6 | % |

# 5. Glycosylation and Post-Translational Modifications

N-glycan profiling was performed by HILIC-MS following PNGase F enzymatic release. Post-translational modifications including deamidation, oxidation, and C-terminal lysine clipping were assessed.

| Parameter | Method | Value | Unit |
| --- | --- | --- | --- |
| G0F | N-glycan HILIC-MS | 42.3 | % |
| G1F | N-glycan HILIC-MS | 28.7 | % |
| G2F | N-glycan HILIC-MS | 8.1 | % |
| Afucosylation | N-glycan HILIC-MS | 4.2 | % |
| High Mannose (Man5) | N-glycan HILIC-MS | 2.8 | % |

# 6. Biological Activity and Potency

Biological activity was assessed using a cell-based reporter gene assay measuring IL-6 receptor inhibition. ADCC activity was also evaluated. Relative potency was determined against the reference standard.

| Assay | Method | Value | Unit |
| --- | --- | --- | --- |
| Relative Potency | Cell-based Reporter Gene | 102.5 | % |
| ADCC Activity | ADCC Reporter Assay | 98.7 | % |
| Binding EC50 | Cell-based Assay | 0.45 | nM |

# 7. Immunochemical Properties

Target binding was assessed by ELISA and surface plasmon resonance (SPR) using a Biacore instrument. FcRn binding was confirmed.

| Parameter | Method | Value | Unit |
| --- | --- | --- | --- |
| Target Binding (Kd) | SPR / Biacore | 0.12 | nM |
| Target Binding | ELISA | Positive |  |
| FcRn Binding (Kd) | SPR | 1.8 | uM |

# 8. Purity and Impurities

Purity was assessed by rCE-SDS (reduced and non-reduced) and RP-HPLC. Process-related impurities including host cell protein (HCP) and residual DNA were quantified.

| Attribute | Method | Value | Unit |
| --- | --- | --- | --- |
| Purity (reduced) | rCE-SDS | 98.5 | % |
| Purity (non-reduced) | CE-SDS | 97.8 | % |
| Purity | RP-HPLC | 99.1 | % |
| HCP | ELISA | 12.5 | ppm |
| Residual DNA | qPCR | 0.8 | pg/mg |

# 9. Summary

The characterization study demonstrates that mAb-Test IgG1 has the expected physicochemical and biological properties consistent with an IgG1 monoclonal antibody. All critical quality attributes meet acceptance criteria. Potency: 102.5% relative to reference standard lot RS-2026-001.